{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["NIB","LC480","LC480+EFF","RNAinVAL_stages_amplicons"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"NIB","index":0,"n_rows":38,"n_cols":26,"rows_kept":38,"cut":false,"hidden":true,"merged":[]}
[null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24]
["A","0+1",null,null,null,"kont3-2",null,null,null,"bliz3wt3",null,null,null,"kont24+1",null,null,null,"bliz24-2",null,null,null,"inok24wt3",null,null,null," - 2 red?itvi -- za preverjanje u?inkovitosti vzorca"]
["B","0+2",null,null,null,"kont3-3",null,null,null,"bliz3coi1",null,null,null,"kont24+2",null,null,null,"bliz24-3",null,null,null,"inok24coi1",null,null,null,"   - ?e k preve? odstopa od k umeritvene, se vzorec izlo?i"]
["C","0+3",null,null,null,"kont3wt1",null,null,null,"bliz3coi2",null,null,null,"kont24+3",null,null,null,"bliz24wt1",null,null,null,"inok24coi2"]
["D","0-1",null,null,null,"kont3wt2",null,null,null,"bliz3coi3",null,null,null,"kont24-1",null,null,null,"bliz24wt2",null,null,null,"inok24coi3"]
["E","0-2",null,null,null,"kont3wt3",null,null,null,"inok3+1",null,null,null,"kont24-2",null,null,null,"bliz24wt3"]
["F","0-3",null,null,null,"kont3coi1",null,null,null,"inok3+2",null,null,null,"kont24-3",null,null,null,"bliz24coi1"]
["G","0wt1",null,null,null,"kont3coi2",null,null,null,"inok3+3",null,null,null,"kont24wt1",null,null,null,"bliz24coi2"]
["H","0wt2",null,null,null,"kont3coi3",null,null,null,"inok3-1",null,null,null,"kont24wt2",null,null,null,"bliz24coi3"]
["I","0wt3",null,null,null,"bliz3+1",null,null,null,"inok3-2",null,null,null,"kont24wt3",null,null,null,"inok24+1"]
["J","0coi1",null,null,null,"bliz3+2",null,null,null,"inok3-3",null,null,null,"kont24coi1",null,null,null,"inok24+2"]
["K","0coi2",null,null,null,"bliz3+3",null,null,null,"inok3wt1",null,null,null,"kont24coi2",null,null,null,"inok24+3"]
["L","0coi3",null,null,null,"bliz3-1",null,null,null,"inok3wt2",null,null,null,"kont24coi3",null,null,null,"inok24-1",{"$nulls":5},"ntc"]
["M","kont3+1",null,null,null,"bliz3-2",null,null,null,"inok3wt3",null,null,null,"bliz24+1",null,null,null,"inok24-2",{"$nulls":5},"10 x",null,"umeritvena krivulja kalibracijskega vzorca"]
["N","kont3+2",null,null,null,"bliz3-3",null,null,null,"inok3coi1",null,null,null,"bliz24+2",null,null,null,"inok24-3",{"$nulls":5},"100 x",null," -  glede na to ra?unamo abs. koli?ine cDNA"]
["O","kont3+3",null,null,null,"bliz3wt1",null,null,null,"inok3coi2",null,null,null,"bliz24+3",null,null,null,"inok24wt1",{"$nulls":5},"1000 x"]
["P","kont3-1",null,null,null,"bliz3wt2",null,null,null,"inok3coi3",null,null,null,"bliz24-1",null,null,null,"inok24wt2",{"$nulls":5},"10000 x"]
[]
["bolj logi?no PO SKUPINAH:"]
[null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24]
["A","0+1",null,null,null,"bliz24+2",null,null,null,"inok3-3",null,null,null,"bliz3wt1",null,null,null,"0coi2",null,null,null,"bliz24coi3",null,null,null," - 2 red?itvi -- za preverjanje u?inkovitosti vzorca"]
["B","0+2",null,null,null,"bliz24+3",null,null,null,"kont24-1",null,null,null,"bliz3wt2",null,null,null,"0coi3",null,null,null,"inok24coi1",null,null,null,"   - ?e k preve? odstopa od k umeritvene, se vzorec izlo?i"]
["C","0+3",null,null,null,"inok24+1",null,null,null,"kont24-2",null,null,null,"bliz3wt3",null,null,null,"kont3coi1",null,null,null,"inok24coi2"]
["D","kont3+1",null,null,null,"inok24+2",null,null,null,"kont24-3",null,null,null,"inok3wt1",null,null,null,"kont3coi2",null,null,null,"inok24coi3"]
["E","kont3+2",null,null,null,"inok24+3",null,null,null,"bliz24-1",null,null,null,"inok3wt2",null,null,null,"kont3coi3"]
["F","kont3+3",null,null,null,"0-1",null,null,null,"bliz24-2",null,null,null,"inok3wt3",null,null,null,"bliz3coi1"]
["G","bliz3+1",null,null,null,"0-2",null,null,null,"bliz24-3",null,null,null,"kont24wt1",null,null,null,"bliz3coi2"]
["H","bliz3+2",null,null,null,"0-3",null,null,null,"inok24-1",null,null,null,"kont24wt2",null,null,null,"bliz3coi3"]
["I","bliz3+3",null,null,null,"kont3-1",null,null,null,"inok24-2",null,null,null,"kont24wt3",null,null,null,"inok3coi1"]
["J","inok3+1",null,null,null,"kont3-2",null,null,null,"inok24-3",null,null,null,"bliz24wt1",null,null,null,"inok3coi2"]
["K","inok3+2",null,null,null,"kont3-3",null,null,null,"0wt1",null,null,null,"bliz24wt2",null,null,null,"inok3coi3"]
["L","inok3+3",null,null,null,"bliz3-1",null,null,null,"0wt2",null,null,null,"bliz24wt3",null,null,null,"kont24coi1",{"$nulls":5},"ntc",null,"umeritvena krivulja kalibracijskega vzorca"]
["M","kont24+1",null,null,null,"bliz3-2",null,null,null,"0wt3",null,null,null,"inok24wt1",null,null,null,"kont24coi2",{"$nulls":5},"10 x",null," -  glede na to ra?unamo abs. koli?ine cDNA"]
["N","kont24+2",null,null,null,"bliz3-3",null,null,null,"kont3wt1",null,null,null,"inok24wt2",null,null,null,"kont24coi3",{"$nulls":5},"100 x"]
["O","kont24+3",null,null,null,"inok3-1",null,null,null,"kont3wt2",null,null,null,"inok24wt3",null,null,null,"bliz24coi1",{"$nulls":5},"1000 x"]
["P","bliz24+1",null,null,null,"inok3-2",null,null,null,"kont3wt3",null,null,null,"0coi1",null,null,null,"bliz24coi2",{"$nulls":5},"10000 x"]
[]
[null,"NA VSAKI PLOŠ?I?I BI MERIL SAMO 1 GEN - v enem run-u bi pomeril vse vzorce!!!"]

{"sheet":"LC480","index":1,"n_rows":54,"n_cols":26,"rows_kept":54,"cut":false,"hidden":true,"merged":[]}
[null,"References",{"$nulls":5},"Targets"]
[null,"18S",null,"COX",null,"EF-2",null,"ETR1",null,"ETR4",null,"CTR1",null,"EIN3",null,"ERF1",null,"WIPK",null,"JAR1",null,"coi1",null,"StPPS3"]
[null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24]
["A","0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1"]
["B","0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2"]
["C","0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3"]
["D","kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1"]
["E","kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2"]
["F","kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3"]
["G","bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1"]
["H","bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2"]
["I","bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3"]
["J","inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1"]
["K","inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2"]
["L","inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3"]
["M","ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc"]
["N"]
["O",{"$f":"\"PosCal\"&\" \"&B2","v":"PosCal 18S"},null,{"$f":"\"PosCal\"&\" \"&D2","v":"PosCal COX"},null,{"$f":"\"PosCal\"&\" \"&F2","v":"PosCal EF-2"},null,{"$f":"\"PosCal\"&\" \"&H2","v":"PosCal ETR1"},null,{"$f":"\"PosCal\"&\" \"&J2","v":"PosCal ETR4"},null,{"$f":"\"PosCal\"&\" \"&L2","v":"PosCal CTR1"},null,{"$f":"\"PosCal\"&\" \"&N2","v":"PosCal EIN3"},null,{"$f":"\"PosCal\"&\" \"&P2","v":"PosCal ERF1"},null,{"$f":"\"PosCal\"&\" \"&R2","v":"PosCal WIPK"},null,{"$f":"\"PosCal\"&\" \"&T2","v":"PosCal JAR1"},null,{"$f":"\"PosCal\"&\" \"&V2","v":"PosCal coi1"},null,{"$f":"\"PosCal\"&\" \"&X2","v":"PosCal StPPS3"},null," - kalibracijski vzorec - pool, za primerjavo med ploš?icami"]
["P"]
[]
[null,"References",{"$nulls":5},"Targets"]
[null,"18S",null,"COX",null,"EF-2",null,"ETR1",null,"ETR4",null,"CTR1",null,"EIN3",null,"ERF1",null,"WIPK",null,"JAR1",null,"coi1",null,"StPPS3"]
[null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24]
["A","kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1"]
["B","kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2"]
["C","kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3"]
["D","bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1"]
["E","bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2"]
["F","bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3"]
["G","inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1"]
["H","inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2"]
["I","inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3"]
["J","ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc"]
["K"]
["L"]
["M"]
["N"]
["O",{"$f":"\"PosCal\"&\" \"&B22","v":"PosCal 18S"},null,{"$f":"\"PosCal\"&\" \"&D22","v":"PosCal COX"},null,{"$f":"\"PosCal\"&\" \"&F22","v":"PosCal EF-2"},null,{"$f":"\"PosCal\"&\" \"&H22","v":"PosCal ETR1"},null,{"$f":"\"PosCal\"&\" \"&J22","v":"PosCal ETR4"},null,{"$f":"\"PosCal\"&\" \"&L22","v":"PosCal CTR1"},null,{"$f":"\"PosCal\"&\" \"&N22","v":"PosCal EIN3"},null,{"$f":"\"PosCal\"&\" \"&P22","v":"PosCal ERF1"},null,{"$f":"\"PosCal\"&\" \"&R22","v":"PosCal WIPK"},null,{"$f":"\"PosCal\"&\" \"&T22","v":"PosCal JAR1"},null,{"$f":"\"PosCal\"&\" \"&V22","v":"PosCal coi1"},null,{"$f":"\"PosCal\"&\" \"&X22","v":"PosCal StPPS3"}]
["P"]
[null,"Slabosti te postavitve:"]
[null," - pripravljanje 6 mixov (60ul/ampl) na eno ploš?ico - SLABŠE ZA PIPETIRANJE Z ROBOTOM"]
[null," - na dveh ploš?icah analiziram samo 21 vzorcev in 3 tar?ne gene -> cel exp (84 vzorcev, 36 genov): 2*4*12 = 96 ploš?ic"]
[null," - ne moreš vedet ali gre pri vzorcu, ki odstopa za biol. variabilnost ali inhibicije!"]
[]
[null,"Prednosti te postavitve:"]
[null," - avtomati?na obdelava podatkov v Roche software-u"]
[null," - \"by the book\" postopek relativne kvantifikacije"]
[]
[null,"LEGENDA VZORCEV:"]
[null," - tretma: kont, bliz, inok",{"$nulls":5},3]
[null," - ?asovna to?ka: 0, 3h, 24h",{"$nulls":5},2]
[null," - skupina: +, - , wt, coi",{"$nulls":5},4]
[null," - bio. pon.: 1, 2, 3",{"$nulls":5},3]
[{"$nulls":6},"sum:",{"$f":"H53*H52*H51*H50 + H53*H52","v":84}]

{"sheet":"LC480+EFF","index":2,"n_rows":53,"n_cols":26,"rows_kept":53,"cut":false,"hidden":true,"merged":[]}
[null,"References",{"$nulls":11},"Targets"]
[null,"18S_1k",null,"18S_10k",null,"COX_1k",null,"COX_10k",null,"EF-2_10",null,"EF-2_100",null,"ETR1_10",null,"ETR1_100",null,"ETR4_10",null,"ETR4_100",null,"CTR1_10",null,"CTR1_100"]
[null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24]
["A","0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1",null,"0+1"]
["B","0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2",null,"0+2"]
["C","0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3",null,"0+3"]
["D","kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1",null,"kont3+1"]
["E","kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2",null,"kont3+2"]
["F","kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3",null,"kont3+3"]
["G","bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1",null,"bliz3+1"]
["H","bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2",null,"bliz3+2"]
["I","bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3",null,"bliz3+3"]
["J","inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1",null,"inok3+1"]
["K","inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2",null,"inok3+2"]
["L","inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3",null,"inok3+3"]
["M","ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc"]
["N"]
["O",{"$f":"\"PosCal\"&\" \"&B2","v":"PosCal 18S_1k"},null,{"$f":"\"PosCal\"&\" \"&D2","v":"PosCal 18S_10k"},null,{"$f":"\"PosCal\"&\" \"&F2","v":"PosCal COX_1k"},null,{"$f":"\"PosCal\"&\" \"&H2","v":"PosCal COX_10k"},null,{"$f":"\"PosCal\"&\" \"&J2","v":"PosCal EF-2_10"},null,{"$f":"\"PosCal\"&\" \"&L2","v":"PosCal EF-2_100"},null,{"$f":"\"PosCal\"&\" \"&N2","v":"PosCal ETR1_10"},null,{"$f":"\"PosCal\"&\" \"&P2","v":"PosCal ETR1_100"},null,{"$f":"\"PosCal\"&\" \"&R2","v":"PosCal ETR4_10"},null,{"$f":"\"PosCal\"&\" \"&T2","v":"PosCal ETR4_100"},null,{"$f":"\"PosCal\"&\" \"&V2","v":"PosCal CTR1_10"},null,{"$f":"\"PosCal\"&\" \"&X2","v":"PosCal CTR1_100"},null," - kalibracijski vzorec - pool, za primerjavo med ploš?icai"]
["P"]
[]
[null,"References",{"$nulls":11},"Targets"]
[null,"18S_1k",null,"18S_10k",null,"COX_1k",null,"COX_10k",null,"EF-2_10",null,"EF-2_100",null,"ETR1_10",null,"ETR1_100",null,"ETR4_10",null,"ETR4_100",null,"CTR1_10",null,"CTR1_100"]
[null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24]
["A","kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1",null,"kont24+1"]
["B","kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2",null,"kont24+2"]
["C","kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3",null,"kont24+3"]
["D","bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1",null,"bliz24+1"]
["E","bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2",null,"bliz24+2"]
["F","bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3",null,"bliz24+3"]
["G","inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1",null,"inok24+1"]
["H","inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2",null,"inok24+2"]
["I","inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3",null,"inok24+3"]
["J","ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc",null,"ntc"]
["K"]
["L"]
["M"]
["N"]
["O",{"$f":"\"PosCal\"&\" \"&B22","v":"PosCal 18S_1k"},null,{"$f":"\"PosCal\"&\" \"&D22","v":"PosCal 18S_10k"},null,{"$f":"\"PosCal\"&\" \"&F22","v":"PosCal COX_1k"},null,{"$f":"\"PosCal\"&\" \"&H22","v":"PosCal COX_10k"},null,{"$f":"\"PosCal\"&\" \"&J22","v":"PosCal EF-2_10"},null,{"$f":"\"PosCal\"&\" \"&L22","v":"PosCal EF-2_100"},null,{"$f":"\"PosCal\"&\" \"&N22","v":"PosCal ETR1_10"},null,{"$f":"\"PosCal\"&\" \"&P22","v":"PosCal ETR1_100"},null,{"$f":"\"PosCal\"&\" \"&R22","v":"PosCal ETR4_10"},null,{"$f":"\"PosCal\"&\" \"&T22","v":"PosCal ETR4_100"},null,{"$f":"\"PosCal\"&\" \"&V22","v":"PosCal CTR1_10"},null,{"$f":"\"PosCal\"&\" \"&X22","v":"PosCal CTR1_100"}]
["P"]
[null,"Slabosti te postavitve:"]
[null," - pripravljanje 12 mixov (60ul/ampl) na eno ploš?ico - SLABŠE ZA PIPETIRANJE Z ROBOTOM"]
[null," - na dveh ploš?icah analiziram samo 21 vzorcev in 9 tar?nih genov -> cel exp (84 vzorcev, 36 genov): 2*4*4 = 32 ploš?ic"]
[]
[null,"Prednosti te postavitve:"]
[null," - avtomati?na obdelava podatkov v Roche software-u"]
[null," - \"by the book\" postopek relativne kvantifikacije"]
[]
[null,"LEGENDA VZORCEV:"]
[null," - tretma: kont, bliz, inok",{"$nulls":5},3]
[null," - ?asovna to?ka: 0, 3h, 24h",{"$nulls":5},2]
[null," - skupina: +, - , wt, coi",{"$nulls":5},4]
[null," - bio. pon.: 1, 2, 3",{"$nulls":5},3]
[{"$nulls":6},"sum:",{"$f":"H52*H51*H50*H49 + H52*H51","v":84}]

{"sheet":"RNAinVAL_stages_amplicons","index":3,"n_rows":167,"n_cols":46,"rows_kept":167,"cut":false,"hidden":false,"merged":[[1,3,1,14],[1,15,1,26]]}
[{"$nulls":37},"ORIG. SORT","SORT","Well Position","sample name","RP4","JHBP","Rel quant"]
[null,null,null,"RP4",{"$nulls":11},"JHBP",{"$nulls":21},1,1,"A1","egg early 3",17.3,30.17,100000]
[null,null,null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24,{"$nulls":10},2,2,"A2","egg early 3",17.420000000000002,30.62,100000]
[null,null,"A","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":10},3,3,"A3","egg early 3",21.67,34.97,10000]
[null,null,"B","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":10},4,4,"A4","egg early 3",21.62,34.840000000000003,10000]
[null,null,"C","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":10},13,5,"B1","egg early 4",17.18,30.66,100000]
[null,null,"D","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x",null,"lukenj/amplikon:",null,160,null,"(2 x 2 x 39 vz)",{"$nulls":4},14,6,"B2","egg early 4",17.25,30.97,100000]
[null,null,"E","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x",null,"NTC, umeritvena:",null,10,{"$nulls":6},15,7,"B3","egg early 4",21.34,null,10000]
[null,null,"F","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x",null,"procent izgub:",null,20,"%",{"$nulls":5},16,8,"B4","egg early 4",21.22,34.15,10000]
[null,null,"G","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x","10x","10x","100x","100x",null,"št. reakcij z upoštevano izgubo:",null,{"$f":"(AE7+AE8)*(100+AE9)/100","v":204},{"$nulls":6},25,9,"C1","eggs early 2",15.68,26.71,100000]
[null,null,"H","10x","10x","100x","100x","10x","10x","100x","100x","NTC","NTC","NTC","NTC","10x","10x","100x","100x","10x","10x","100x","100x","NTC","NTC","NTC","NTC",{"$nulls":10},26,10,"C2","eggs early 2",15.82,27.07,100000]
[null,null,"I","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":4},"10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":14},27,11,"C3","eggs early 2",19.489999999999998,28.96,10000]
[null,null,"J","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":4},"10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":14},28,12,"C4","eggs early 2",19.53,28.88,10000]
[null,null,"K","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":4},"10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":14},37,13,"D1","eggs early 3",18.149999999999999,28.93,100000]
[null,null,"L","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":4},"10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":14},38,14,"D2","eggs early 3",18.149999999999999,29.36,100000]
[null,null,"M","10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":4},"10x","10x","100x","100x","10x","10x","100x","100x",{"$nulls":5},"Syber Green","JHBP, LdRP4",{"$nulls":7},39,15,"D3","eggs early 3",22.36,33.19,10000]
[null,null,"N","10x","10x","100x","100x","10x","10x","100x","100x",null,null,"NTC","NTC","10x","10x","100x","100x","10x","10x","100x","100x",null,null,"NTC","NTC",{"$nulls":10},40,16,"D4","eggs early 3",22.53,33.17,10000]
[null,null,"O","10x","10x","100x","100x","10x","10x","100x","100x",10,10,100,100,"10x","10x","100x","100x","10x","10x","100x","100x",10,10,100,100,null,"no.:",204,{"$nulls":7},49,17,"E1","egg late 1",15.62,16.670000000000002,100000]
[null,null,"P","10x","10x","100x","100x","10x","10x","100x","100x",1000,1000,"10k","10k","10x","10x","100x","100x","10x","10x","100x","100x",1000,1000,"10k","10k",null,"FP:","300 nM",0.05,{"$nulls":6},50,18,"E2","egg late 1",15.8,16.72,100000]
[{"$nulls":28},"RP:","300 nM",0.05,{"$nulls":6},51,19,"E3","egg late 1",19.55,20.46,10000]
[{"$nulls":37},52,20,"E4","egg late 1",19.39,20.51,10000]
[{"$nulls":37},61,21,"F1","egg late 2",15.98,17.760000000000002,100000]
[null,null,null,"redčenje cDNA pool-a za umeritveno krivuljo: -ročno 90 sigma dH2O + 10 POOL cDNA (od 2016)",{"$nulls":24},"UMM (2x)",{"$f":"2.5*AD18","v":510},{"$nulls":7},62,22,"F2","egg late 2",15.95,17.78,100000]
[null,null,null,"redčenje cDNA vzorcev: - na robotu 45+5 ul; 2 redčini na isto plato",{"$nulls":24},"FP",{"$f":"AE19*AD18","v":10.200000000000001},null,null,"MasterMix used: ",{"$nulls":4},63,23,"F3","egg late 2",19.7,21.83,10000]
[{"$nulls":28},"RP",{"$f":"AE20*AD18","v":10.200000000000001},null,null,"ABI SYBR power",{"$nulls":4},64,24,"F4","egg late 2",19.72,21.83,10000]
[{"$nulls":28},"water",{"$f":"(5*AD18)-(SUM(AD23:AD25,AD27))","v":81.599999999999909},{"$nulls":7},73,25,"G1","egg late 3",16.13,17.3,100000]
[{"$nulls":28},"sample",{"$f":"2*AD18","v":408},{"$nulls":7},74,26,"G2","egg late 3",16.27,17.53,100000]
[{"$nulls":28},"sum",{"$f":"SUM(AD23:AD27)","v":1020},{"$nulls":7},75,27,"G3","egg late 3",20.14,21.51,10000]
[{"$nulls":28},"pipet",3,{"$nulls":7},76,28,"G4","egg late 3",20.07,21.6,10000]
[{"$nulls":37},85,29,"H1","neonatal 1",17.059999999999999,17.579999999999998,100000]
[{"$nulls":37},86,30,"H2","neonatal 1",17.010000000000002,17.559999999999999,100000]
[{"$nulls":37},87,31,"H3","neonatal 1",21.03,21.71,10000]
[{"$nulls":37},88,32,"H4","neonatal 1",21.01,21.7,10000]
[{"$nulls":37},93,33,"I1","neonatal 2",16.89,18.64,100000]
[{"$nulls":37},94,34,"I2","neonatal 2",16.920000000000002,18.649999999999999,100000]
[{"$nulls":28},"primerji:",{"$nulls":8},95,35,"I3","neonatal 2",19.91,21.85,10000]
[{"$nulls":28},"Stock","Delovne raztopine za 5 ul reakcije:",{"$nulls":7},96,36,"I4","neonatal 2",19.96,21.9,10000]
[{"$nulls":28},"Primerji",null,"priprava","uM","ul v mix","V reakcije","konc/reakcijo","nM",null,101,37,"J1","neonatal 3",16.100000000000001,16.88,100000]
[{"$nulls":28},"100 uM","30 uM","30+70",30,{"$f":"AI39/(AF39/AH39)","v":0.15},5,0.9,{"$f":"AF39*AG39/AH39*1000","v":900},null,102,38,"J2","neonatal 3",16.05,16.95,100000]
[{"$nulls":31},30,{"$f":"AI40/(AF40/AH40)","v":9.9999999999999992E-2},5,0.6,{"$f":"AF40*AG40/AH40*1000","v":599.99999999999989},null,103,39,"J3","neonatal 3",20.09,21.29,10000]
[{"$nulls":31},30,{"$f":"AI41/(AF41/AH41)","v":4.9999999999999996E-2},5,0.3,{"$f":"AF41*AG41/AH41*1000","v":299.99999999999994},null,104,40,"J4","neonatal 3",20.11,21.3,10000]
[{"$nulls":28},"Sonda",{"$nulls":8},109,41,"K1","2nd larva 2",17.170000000000002,15.33,100000]
[{"$nulls":28},"100 uM","10 uM","10+90",10,{"$f":"AI43/(AF43/AH43)","v":0.125},5,0.25,{"$f":"AF43*AG43/AH43*1000","v":250},null,110,42,"K2","2nd larva 2",17.03,15.49,100000]
[{"$nulls":31},10,{"$f":"AI44/(AF44/AH44)","v":7.4999999999999997E-2},5,0.15,{"$f":"AF44*AG44/AH44*1000","v":150},null,111,43,"K3","2nd larva 2",20.98,19.739999999999998,10000]
[{"$nulls":37},112,44,"K4","2nd larva 2",20.98,19.77,10000]
[{"$nulls":37},117,45,"L1","2nd larva 3",16.05,14.17,100000]
[{"$nulls":37},118,46,"L2","2nd larva 3",16.010000000000002,14.33,100000]
[{"$nulls":37},119,47,"L3","2nd larva 3",19.899999999999999,18.39,10000]
[{"$nulls":37},120,48,"L4","2nd larva 3",19.989999999999998,18.47,10000]
[{"$nulls":37},125,49,"M1","2nd larva 4",16.37,14.52,100000]
[{"$nulls":37},126,50,"M2","2nd larva 4",16.329999999999998,14.59,100000]
[{"$nulls":37},127,51,"M3","2nd larva 4",20.190000000000001,18.62,10000]
[{"$nulls":37},128,52,"M4","2nd larva 4",20.18,18.62,10000]
[{"$nulls":37},133,53,"N1","2nd larva 5",16.350000000000001,15.18,100000]
[{"$nulls":37},134,54,"N2","2nd larva 5",16.27,15.23,100000]
[{"$nulls":37},135,55,"N3","2nd larva 5",20.22,19.329999999999998,10000]
[{"$nulls":37},136,56,"N4","2nd larva 5",20.18,19.3,10000]
[{"$nulls":37},143,57,"O1","3rd larva 1",18.149999999999999,16.02,100000]
[{"$nulls":37},144,58,"O2","3rd larva 1",18.12,16.04,100000]
[{"$nulls":37},145,59,"O3","3rd larva 1",22.13,19.989999999999998,10000]
[{"$nulls":37},146,60,"O4","3rd larva 1",22.17,20,10000]
[{"$nulls":37},155,61,"P1","3rd larva 2",16.739999999999998,13.99,100000]
[{"$nulls":37},156,62,"P2","3rd larva 2",16.73,14.12,100000]
[{"$nulls":37},157,63,"P3","3rd larva 2",20.67,18.12,10000]
[{"$nulls":37},158,64,"P4","3rd larva 2",20.66,18.13,10000]
[{"$nulls":37},5,65,"A5","3rd larva 3",17.62,15.92,100000]
[{"$nulls":37},6,66,"A6","3rd larva 3",17.260000000000002,15.98,100000]
[{"$nulls":37},7,67,"A7","3rd larva 3",21.52,20.07,10000]
[{"$nulls":37},8,68,"A8","3rd larva 3",21.52,20.059999999999999,10000]
[{"$nulls":37},17,69,"B5","4th early larva 1",16.11,13.87,100000]
[{"$nulls":37},18,70,"B6","4th early larva 1",17.309999999999999,13.81,100000]
[{"$nulls":37},19,71,"B7","4th early larva 1",20.78,17.86,10000]
[{"$nulls":37},20,72,"B8","4th early larva 1",20.73,17.84,10000]
[{"$nulls":37},29,73,"C5","4th early larva 2",16.899999999999999,14.34,100000]
[{"$nulls":37},30,74,"C6","4th early larva 2",17.82,14.27,100000]
[{"$nulls":37},31,75,"C7","4th early larva 2",21.9,18.73,10000]
[{"$nulls":37},32,76,"C8","4th early larva 2",21.84,18.72,10000]
[{"$nulls":37},41,77,"D5","4th early larva 3",16.579999999999998,17.57,100000]
[{"$nulls":37},42,78,"D6","4th early larva 3",16.05,17.670000000000002,100000]
[{"$nulls":37},43,79,"D7","4th early larva 3",20.28,21.93,10000]
[{"$nulls":37},44,80,"D8","4th early larva 3",20.27,21.95,10000]
[{"$nulls":37},53,81,"E5","4th early larva 4",17.07,13.92,100000]
[{"$nulls":37},54,82,"E6","4th early larva 4",16.690000000000001,13.98,100000]
[{"$nulls":37},55,83,"E7","4th early larva 4",20.76,17.920000000000002,10000]
[{"$nulls":37},56,84,"E8","4th early larva 4",20.8,17.989999999999998,10000]
[{"$nulls":37},65,85,"F5","4th late larva 1",17.77,16.649999999999999,100000]
[{"$nulls":37},66,86,"F6","4th late larva 1",17.77,16.62,100000]
[{"$nulls":37},67,87,"F7","4th late larva 1",21.73,20.66,10000]
[{"$nulls":37},68,88,"F8","4th late larva 1",21.77,20.8,10000]
[{"$nulls":37},77,89,"G5","4th late larva 2",18.27,16.13,100000]
[{"$nulls":37},78,90,"G6","4th late larva 2",18.170000000000002,16.2,100000]
[{"$nulls":37},79,91,"G7","4th late larva 2",22.24,20.54,10000]
[{"$nulls":37},80,92,"G8","4th late larva 2",22.2,20.52,10000]
[{"$nulls":37},89,93,"H5","4th late larva 3",18.62,15.38,100000]
[{"$nulls":37},90,94,"H6","4th late larva 3",18.63,15.41,100000]
[{"$nulls":37},91,95,"H7","4th late larva 3",22.32,19.47,10000]
[{"$nulls":37},92,96,"H8","4th late larva 3",22.36,19.37,10000]
[{"$nulls":37},97,97,"I5","4th late larva 4",16.57,14.49,100000]
[{"$nulls":37},98,98,"I6","4th late larva 4",17.260000000000002,14.32,100000]
[{"$nulls":37},99,99,"I7","4th late larva 4",20.76,18.13,10000]
[{"$nulls":37},100,100,"I8","4th late larva 4",20.73,18.059999999999999,10000]
[{"$nulls":37},105,101,"J5","pupa 1",18.54,30.84,100000]
[{"$nulls":37},106,102,"J6","pupa 1",19.02,29.86,100000]
[{"$nulls":37},107,103,"J7","pupa 1",22.38,32.11,10000]
[{"$nulls":37},108,104,"J8","pupa 1",22.34,33.659999999999997,10000]
[{"$nulls":37},113,105,"K5","pupa 2",18.75,29.49,100000]
[{"$nulls":37},114,106,"K6","pupa 2",18.239999999999998,29.54,100000]
[{"$nulls":37},115,107,"K7","pupa 2",21.98,37.08,10000]
[{"$nulls":37},116,108,"K8","pupa 2",22,null,10000]
[{"$nulls":37},121,109,"L5","pupa 3",18.37,30.17,100000]
[{"$nulls":37},122,110,"L6","pupa 3",18.190000000000001,30.27,100000]
[{"$nulls":37},123,111,"L7","pupa 3",21.84,33.9,10000]
[{"$nulls":37},124,112,"L8","pupa 3",21.82,33.5,10000]
[{"$nulls":37},129,113,"M5","pupa 4",19.989999999999998,30.95,100000]
[{"$nulls":37},130,114,"M6","pupa 4",19.68,30.84,100000]
[{"$nulls":37},131,115,"M7","pupa 4",23.64,32.880000000000003,10000]
[{"$nulls":37},132,116,"M8","pupa 4",23.59,32.270000000000003,10000]
[{"$nulls":37},137,117,"N5","adult 1",18.03,14.69,100000]
[{"$nulls":37},138,118,"N6","adult 1",17.989999999999998,14.69,100000]
[{"$nulls":37},139,119,"N7","adult 1",21.76,18.52,10000]
[{"$nulls":37},140,120,"N8","adult 1",21.72,18.55,10000]
[{"$nulls":37},147,121,"O5","adult 2",17.190000000000001,14.85,100000]
[{"$nulls":37},148,122,"O6","adult 2",17.079999999999998,14.85,100000]
[{"$nulls":37},149,123,"O7","adult 2",20.81,18.809999999999999,10000]
[{"$nulls":37},150,124,"O8","adult 2",20.85,18.75,10000]
[{"$nulls":37},159,125,"P5","adult 3",18.61,13.87,100000]
[{"$nulls":37},160,126,"P6","adult 3",18.48,13.85,100000]
[{"$nulls":37},161,127,"P7","adult 3",22.06,17.649999999999999,10000]
[{"$nulls":37},162,128,"P8","adult 3",22.04,17.64,10000]
[{"$nulls":37},9,129,"A9","adult 4",17.53,15.56,100000]
[{"$nulls":37},10,130,"A10","adult 4",17.59,15.62,100000]
[{"$nulls":37},11,131,"A11","adult 4",20.58,19.02,10000]
[{"$nulls":37},12,132,"A12","adult 4",21.16,18.98,10000]
[{"$nulls":37},21,133,"B9","foregut",18,19.25,100000]
[{"$nulls":37},22,134,"B10","foregut",18.03,19.239999999999998,100000]
[{"$nulls":37},23,135,"B11","foregut",21.6,23.46,10000]
[{"$nulls":37},24,136,"B12","foregut",21.83,23.37,10000]
[{"$nulls":37},33,137,"C9","midgut",17.91,14.78,100000]
[{"$nulls":37},34,138,"C10","midgut",17.899999999999999,14.79,100000]
[{"$nulls":37},35,139,"C11","midgut",21.55,18.55,10000]
[{"$nulls":37},36,140,"C12","midgut",21.58,18.72,10000]
[{"$nulls":37},45,141,"D9","hindgut",23.28,28.99,100000]
[{"$nulls":37},46,142,"D10","hindgut",23.24,29.12,100000]
[{"$nulls":37},47,143,"D11","hindgut",26.72,32.76,10000]
[{"$nulls":37},48,144,"D12","hindgut",26.68,33.130000000000003,10000]
[{"$nulls":37},57,145,"E9","haemolymph",17.96,17.03,100000]
[{"$nulls":37},58,146,"E10","haemolymph",17.88,16.920000000000002,100000]
[{"$nulls":37},59,147,"E11","haemolymph",21.6,20.97,10000]
[{"$nulls":37},60,148,"E12","haemolymph",21.66,20.93,10000]
[{"$nulls":37},69,149,"F9","carcass",17.329999999999998,14.37,100000]
[{"$nulls":37},70,150,"F10","carcass",17.05,14.29,100000]
[{"$nulls":37},71,151,"F11","carcass",20.73,18.05,10000]
[{"$nulls":37},72,152,"F12","carcass",20.74,17.940000000000001,10000]
[{"$nulls":37},81,153,"G9","legs",18.579999999999998,15.15,100000]
[{"$nulls":37},82,154,"G10","legs",18.57,15.09,100000]
[{"$nulls":37},83,155,"G11","legs",22.39,19.16,10000]
[{"$nulls":37},84,156,"G12","legs",22.28,19.29,10000]
[{"$nulls":37},151,157,"O21","STD_10x",17.55,15.27,1000000,{"$f":"AVERAGE(AP158:AP159)-AVERAGE(AP160:AP161)","v":-3.8049999999999997},{"$f":"AVERAGE(AQ158:AQ159)-AVERAGE(AQ160:AQ161)","v":-4.0950000000000006}]
[{"$nulls":37},152,158,"O22","STD_10x",17.57,15.32,1000000]
[{"$nulls":37},153,159,"O23","STD_100x",21.26,19.46,100000,{"$f":"AVERAGE(AP160:AP161)-AVERAGE(AP162:AP163)","v":-3.8449999999999989},{"$f":"AVERAGE(AQ160:AQ161)-AVERAGE(AQ162:AQ163)","v":-3.7300000000000004}]
[{"$nulls":37},154,160,"O24","STD_100x",21.47,19.32,100000]
[{"$nulls":37},163,161,"P21","STD_1000x",25.15,23.12,10000,{"$f":"AVERAGE(AP162:AP163)-AVERAGE(AP164:AP165)","v":-3.0350000000000001},{"$f":"AVERAGE(AQ162:AQ163)-AVERAGE(AQ164:AQ165)","v":-3.1549999999999976}]
[{"$nulls":37},164,162,"P22","STD_1000x",25.27,23.12,10000]
[{"$nulls":37},165,163,"P23","STD_10kx",28.32,26.18,1000]
[{"$nulls":37},166,164,"P24","STD_10kx",28.17,26.37,1000]
[{"$nulls":37},141,165,"N23","NTC"]
[{"$nulls":37},142,166,"N24","NTC"]