{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["non-guidedSxProute","guidedSxProute","CBS Control","35s Control"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"non-guidedSxProute","index":0,"n_rows":96,"n_cols":16,"rows_kept":96,"cut":false,"hidden":false,"merged":[]}
["  Quantitation Report    (QT Reviewed)",{"$nulls":8},"    Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P1_1.D                                                ",{"$nulls":8},"  Data File : P2_1.D                                                "]
["  Acq On    : 03 May 2021  09:51",{"$nulls":8},"  Acq On    : 03 May 2021  10:22"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P1_1",{"$nulls":8},"  Sample    : P2_1"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 1   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 2   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 14:54:17 2021",{"$nulls":8},"  Quant Time: May 03 14:56:26 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.481,129,28736,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.492000000000001,129,33294,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.614000000000001,82,4054,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,1492,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.571000000000002,95,558278,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.606000000000002,95,14781,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.504000000000001,95,511827,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.498000000000001,95,5061,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:03:59 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:05:23 2021   "]
[]
[]
[]
[]
["   Quantitation Report    (QT Reviewed)",{"$nulls":8},"     Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P1_2.D                                              ",{"$nulls":8},"  Data File : P2_2.D                                              "]
["  Acq On    : 03 May 2021  13:54",{"$nulls":8},"  Acq On    : 03 May 2021  14:25"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P1_2",{"$nulls":8},"  Sample    : P2_2"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 9   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 10   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 18:00:21 2021",{"$nulls":8},"  Quant Time: May 03 18:00:41 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.462999999999999,129,24145,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.48,129,29999,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,4448,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,1751,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.565000000000001,95,457325,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.606000000000002,95,24920,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.497,95,397213,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.498000000000001,95,7594,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:04:44 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:05:12 2021   "]
[]
[]
["         Quantitation Report    (QT Reviewed)",{"$nulls":8},"         Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P1_3.D                                              ",{"$nulls":8},"  Data File : P2_3.D                                              "]
["  Acq On    : 03 May 2021  18:28",{"$nulls":8},"  Acq On    : 03 May 2021  18:58"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P1_3",{"$nulls":8},"  Sample    : P2_3"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 18   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 19   Sample Multiplier: 1"]
[]
["  Quant Time: May 05 10:53:53 2021",{"$nulls":8},"  Quant Time: May 05 10:54:25 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.48,129,49740,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.497,129,51309,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,6989,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,2004,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.553000000000001,95,1591256,"No","Calib",null,null,null,"3] (Z)-11-hexadecen-1-ol",19.565000000000001,95,36007,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.503,95,1522451,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.503,95,12746,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Wed May 05 11:25:33 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Wed May 05 11:25:43 2021   "]

{"sheet":"guidedSxProute","index":1,"n_rows":96,"n_cols":16,"rows_kept":96,"cut":false,"hidden":false,"merged":[]}
["   Quantitation Report    (QT Reviewed)",{"$nulls":8}," Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P3_1.D                                                ",{"$nulls":8},"  Data File : P4_1.D                                                "]
["  Acq On    : 03 May 2021  10:52",{"$nulls":8},"  Acq On    : 03 May 2021  11:22"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P3_1",{"$nulls":8},"  Sample    : P4_1"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 3   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 4   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 14:56:43 2021",{"$nulls":8},"  Quant Time: May 03 14:57:02 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.486000000000001,129,38851,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.492000000000001,129,32191,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,4593,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.614000000000001,82,1450,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.565000000000001,95,850565,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.611999999999998,95,16286,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.498000000000001,95,322200,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.498000000000001,95,3914,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:05:41 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:06:12 2021   "]
[]
[]
[]
[]
["     Quantitation Report    (QT Reviewed)",{"$nulls":8},"    Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P3_2.D                                              ",{"$nulls":8},"  Data File : P4_2.D                                              "]
["  Acq On    : 03 May 2021  14:55",{"$nulls":8},"  Acq On    : 03 May 2021  15:26"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P3_2",{"$nulls":8},"  Sample    : P4_2"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 11   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 12   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 18:00:57 2021",{"$nulls":8},"  Quant Time: May 03 18:01:14 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.734,129,18805,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.492000000000001,129,17453,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,3943,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,1637,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.571000000000002,95,480867,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.606000000000002,95,22129,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.497,95,162189,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.503,95,3120,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:06:00 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:06:29 2021   "]
[]
[]
[" Quantitation Report    (QT Reviewed)",{"$nulls":8},"     Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P3_3.D                                              ",{"$nulls":8},"  Data File : P4_3.D                                              "]
["  Acq On    : 03 May 2021  19:29",{"$nulls":8},"  Acq On    : 03 May 2021  19:59"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P3_3",{"$nulls":8},"  Sample    : P4_3"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 20   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 21   Sample Multiplier: 1"]
[]
["  Quant Time: May 05 10:54:46 2021",{"$nulls":8},"  Quant Time: May 05 10:55:08 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.486000000000001,129,49971,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.48,129,20820,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,4158,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,1606,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.559000000000001,95,648459,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.571000000000002,95,18946,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.498000000000001,95,227353,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.503,95,3557,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Wed May 05 11:25:54 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Wed May 05 11:26:07 2021   "]

{"sheet":"CBS Control","index":2,"n_rows":96,"n_cols":16,"rows_kept":96,"cut":false,"hidden":false,"merged":[]}
["   Quantitation Report    (QT Reviewed)",{"$nulls":8},"   Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P5_1.D                                                ",{"$nulls":8},"  Data File : P6_1.D                                                "]
["  Acq On    : 03 May 2021  11:53",{"$nulls":8},"  Acq On    : 03 May 2021  12:23"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P5_1",{"$nulls":8},"  Sample    : P6_1"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 5   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 6   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 14:57:57 2021",{"$nulls":8},"  Quant Time: May 03 14:58:19 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.728,129,11657,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.492000000000001,129,52194,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.619,82,4877,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.619,82,1963,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.565000000000001,95,963128,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.605,95,30506,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.503,95,501972,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.503,95,12693,"No","Calib","#"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:06:52 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:07:15 2021   "]
[]
[]
[]
[]
["      Quantitation Report    (QT Reviewed)",{"$nulls":8},"      Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P5_2.D                                              ",{"$nulls":8},"  Data File : P6_2.D                                              "]
["  Acq On    : 03 May 2021  15:56",{"$nulls":8},"  Acq On    : 03 May 2021  16:26"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P5_2",{"$nulls":8},"  Sample    : P6_2"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 13   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 14   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 18:01:33 2021",{"$nulls":8},"  Quant Time: May 03 18:01:59 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.492000000000001,129,38669,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.474,129,53159,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,5542,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,2041,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.559000000000001,95,1041251,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.576000000000001,95,41360,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.497,95,619908,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.497,95,25582,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:07:03 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:07:25 2021   "]
[]
[]
["   Quantitation Report    (QT Reviewed)",{"$nulls":8},"  Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P5_3.D                                              ",{"$nulls":8},"  Data File : P6_3.D                                              "]
["  Acq On    : 03 May 2021  20:29",{"$nulls":8},"  Acq On    : 03 May 2021  21:00"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P5_3",{"$nulls":8},"  Sample    : P6_3"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 22   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 23   Sample Multiplier: 1"]
[]
["  Quant Time: May 05 11:11:02 2021",{"$nulls":8},"  Quant Time: May 05 11:11:21 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.492000000000001,129,36267,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.497,129,43563,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.614000000000001,82,5952,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,2223,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.553999999999998,95,932134,"No","Calib",null,null,null,"3] (Z)-11-hexadecen-1-ol",19.565000000000001,95,49575,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.498000000000001,95,641468,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.503,95,42109,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Wed May 05 11:26:17 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Wed May 05 11:26:29 2021   "]

{"sheet":"35s Control","index":3,"n_rows":96,"n_cols":16,"rows_kept":96,"cut":false,"hidden":false,"merged":[]}
["    Quantitation Report    (QT Reviewed)",{"$nulls":8},"    Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P7_1.D                                                ",{"$nulls":8},"  Data File : P8_1.D                                                "]
["  Acq On    : 03 May 2021  12:54",{"$nulls":8},"  Acq On    : 03 May 2021  13:24"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P7_1",{"$nulls":8},"  Sample    : P8_1"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 7   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 8   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 14:54:44 2021",{"$nulls":8},"  Quant Time: May 03 14:58:46 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.486000000000001,129,117096,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.497999999999999,129,121977,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,36940,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,3513,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.559000000000001,95,9161939,"No","Calib",null,null,null,"3] (Z)-11-hexadecen-1-ol",19.582000000000001,95,104593,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.509,95,10409720,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.497,95,64697,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:07:38 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:08:16 2021   "]
[]
[]
[]
[]
["          Quantitation Report    (QT Reviewed)",{"$nulls":8}," Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P7_2.D                                              ",{"$nulls":8},"  Data File : P8_2.D                                              "]
["  Acq On    : 03 May 2021  16:57",{"$nulls":8},"  Acq On    : 03 May 2021  17:27"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P7_2",{"$nulls":8},"  Sample    : P8_2"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 15   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 16   Sample Multiplier: 1"]
[]
["  Quant Time: May 03 18:02:18 2021",{"$nulls":8},"  Quant Time: May 03 18:02:55 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.492000000000001,129,56392,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.486000000000001,129,85257,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,37265,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,3174,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.559000000000001,95,11001601,"No","Calib",null,null,null,"3] (Z)-11-hexadecen-1-ol",19.565000000000001,95,92372,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.509,95,13696332,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.497,95,78322,"No","Calib"]
["5] Unkown 22.49",22.835999999999999,82,11769,"No","Calib",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Mon May 03 18:07:52 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Mon May 03 18:08:29 2021   "]
[]
[]
["    Quantitation Report    (QT Reviewed)",{"$nulls":8},"   Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena May 2021\\"]
["  Data File : P7_3.D                                              ",{"$nulls":8},"  Data File : P8_3.D                                              "]
["  Acq On    : 03 May 2021  21:30",{"$nulls":8},"  Acq On    : 03 May 2021  22:01"]
["  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : P7_3",{"$nulls":8},"  Sample    : P8_3"]
["  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 24   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 25   Sample Multiplier: 1"]
[]
["  Quant Time: May 05 11:11:41 2021",{"$nulls":8},"  Quant Time: May 05 11:12:12 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.734,129,14455,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.492000000000001,129,55744,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.613,82,29622,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.613,82,2571,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.553999999999998,95,8321613,"No","Calib",null,null,null,"3] (Z)-11-hexadecen-1-ol",19.565000000000001,95,88765,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.509,95,9777113,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.498000000000001,95,78894,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Wed May 05 11:26:41 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Wed May 05 11:26:52 2021   "]