{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["Control (dCas)","Control","k,EaD","K, ATF1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Control (dCas)","index":0,"n_rows":64,"n_cols":24,"rows_kept":64,"cut":false,"hidden":false,"merged":[]}
["   Quantitation Report    (QT Reviewed)",{"$nulls":7}," Quantitation Report    (QT Reviewed)",{"$nulls":8}," Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : C,g1-1.D                                            ",{"$nulls":7},"  Data File : C,g1-2.D                                            ",{"$nulls":8},"  Data File : C,g1-3.D                                            "]
["  Acq On    : 19 Jan 2021  10:54",{"$nulls":7},"  Acq On    : 19 Jan 2021  14:26",{"$nulls":8},"  Acq On    : 19 Jan 2021  19:00"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : C,g1-1",{"$nulls":7},"  Sample    : C,g1-2",{"$nulls":8},"  Sample    : C,g1-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 3   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 10   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 19   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 09:41:24 2021",{"$nulls":7},"  Quant Time: Jan 22 09:44:07 2021",{"$nulls":8},"  Quant Time: Jan 22 09:44:52 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.51,129,44114,"No","Calib","#",null,"1) Dodecanoic acid TI",14.492000000000001,129,33355,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.509,129,51365,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.631,82,94346,"No","Calib",null,null,"2] (Z)-11-hexadecenal",18.635999999999999,82,113185,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.631,82,77130,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.582999999999998,95,10244171,"No","Calib",null,null,"3] (Z)-11-hexadecen-1-ol",19.588000000000001,95,13349145,"No","Calib",null,null,null,"3] (Z)-11-hexadecen-1-ol",19.582999999999998,95,8173175,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.527000000000001,95,188870,"No","Calib","#",null,"4] (Z)-11-hexadecenyl ace...",21.526,95,234708,"No","Calib",null,null,null,"4] (Z)-11-hexadecenyl ace...",21.526,95,274000,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 09:43:35 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 09:44:36 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Fri Jan 22 09:45:08 2021   "]
[]
[]
[]
[]
[" Quantitation Report    (QT Reviewed)",{"$nulls":7},"   Quantitation Report    (QT Reviewed)",{"$nulls":8},"   Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":8},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : C,gX-1.D                                            ",{"$nulls":7},"  Data File : C,gX-2.D                                            ",{"$nulls":8},"  Data File : C,gX-3.D                                            "]
["  Acq On    : 19 Jan 2021  12:55",{"$nulls":7},"  Acq On    : 19 Jan 2021  15:58",{"$nulls":8},"  Acq On    : 19 Jan 2021  21:02"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":8},"  Operator  : Elena"]
["  Sample    : C,gX-1",{"$nulls":7},"  Sample    : C,gX-2",{"$nulls":8},"  Sample    : C,gX-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":8},"  Misc      :  "]
["  ALS Vial  : 7   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 13   Sample Multiplier: 1",{"$nulls":8},"  ALS Vial  : 23   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 09:46:33 2021",{"$nulls":7},"  Quant Time: Jan 22 09:48:23 2021",{"$nulls":8},"  Quant Time: Jan 22 09:48:56 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":8},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":8},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":8},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":8},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":8},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue",null,null,"Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.503,129,59402,"No","Calib","#",null,"1) Dodecanoic acid TI",14.503,129,35725,"No","Calib","#",null,null,"1) Dodecanoic acid TI",14.503,129,59039,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.641999999999999,82,2671,"No","Calib",null,null,"2] (Z)-11-hexadecenal",18.635999999999999,82,9421,"No","Calib",null,null,null,"2] (Z)-11-hexadecenal",18.635999999999999,82,3427,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.841999999999999,95,27056,"No","Calib","#",null,"3] (Z)-11-hexadecen-1-ol",19.835999999999999,95,393548,"No","Calib","#",null,null,"3] (Z)-11-hexadecen-1-ol",19.963000000000001,95,28309,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.52,95,2555,"No","Calib",null,null,"4] (Z)-11-hexadecenyl ace...",21.526,95,19248,"No","Calib","#",null,null,"4] (Z)-11-hexadecenyl ace...",21.532,95,2256,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,null,null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":8},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":8},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 09:47:55 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 09:48:43 2021   ",{"$nulls":8},"IGEM 2018 short Q.M Fri Jan 22 09:49:31 2021   "]

{"sheet":"Control","index":1,"n_rows":64,"n_cols":22,"rows_kept":64,"cut":false,"hidden":false,"merged":[]}
["      Quantitation Report    (QT Reviewed)",{"$nulls":7}," Quantitation Report    (QT Reviewed)",{"$nulls":6},"  Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":6},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : SxP13-1.D                                           ",{"$nulls":7},"  Data File : SxP13-2.D                                           ",{"$nulls":6},"  Data File : SxP13-3.D                                           "]
["  Acq On    : 19 Jan 2021  11:24",{"$nulls":7},"  Acq On    : 19 Jan 2021  14:57",{"$nulls":6},"  Acq On    : 19 Jan 2021  19:30"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":6},"  Operator  : Elena"]
["  Sample    : SxP11-1",{"$nulls":7},"  Sample    : SxP11-2",{"$nulls":6},"  Sample    : SxP11-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":6},"  Misc      :  "]
["  ALS Vial  : 4   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 11   Sample Multiplier: 1",{"$nulls":6},"  ALS Vial  : 20   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 09:59:30 2021",{"$nulls":7},"  Quant Time: Jan 22 10:00:20 2021",{"$nulls":6},"  Quant Time: Jan 22 10:00:45 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":6},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":6},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":6},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":6},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":6},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue","Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.497999999999999,129,498999,"No","Calib","#",null,"1) Dodecanoic acid TI",14.503,129,418691,"No","Calib","#","1) Dodecanoic acid TI",14.295999999999999,129,92349,"No","Calib"]
["2] (Z)-11-hexadecenal",18.631,82,25494,"No","Calib",null,null,"2] (Z)-11-hexadecenal",18.63,82,27292,"No","Calib",null,"2] (Z)-11-hexadecenal",18.631,82,16953,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.779,95,1171396,"No","Calib","#",null,"3] (Z)-11-hexadecen-1-ol",19.800999999999998,95,1084918,"No","Calib","#","3] (Z)-11-hexadecen-1-ol",19.818999999999999,95,782381,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.527000000000001,95,119261,"No","Calib","#",null,"4] (Z)-11-hexadecenyl ace...",21.526,95,94791,"No","Calib","#","4] (Z)-11-hexadecenyl ace...",21.527000000000001,95,55895,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":6},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 10:00:08 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 10:00:34 2021   ",{"$nulls":6},"IGEM 2018 short Q.M Fri Jan 22 10:01:09 2021   "]
[]
[]
[]
[]
["   Quantitation Report    (QT Reviewed)",{"$nulls":7}," Quantitation Report    (QT Reviewed)",{"$nulls":6}," Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":6},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : P19-1.D                                             ",{"$nulls":7},"  Data File : P19-2.D                                             ",{"$nulls":6},"  Data File : P19-3.D                                             "]
["  Acq On    : 19 Jan 2021  13:26",{"$nulls":7},"  Acq On    : 19 Jan 2021  17:29",{"$nulls":6},"  Acq On    : 19 Jan 2021  21:32"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":6},"  Operator  : Elena"]
["  Sample    : P19-1",{"$nulls":7},"  Sample    : P19-2",{"$nulls":6},"  Sample    : P19-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":6},"  Misc      :  "]
["  ALS Vial  : 8   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 16   Sample Multiplier: 1",{"$nulls":6},"  ALS Vial  : 24   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 10:01:19 2021",{"$nulls":7},"  Quant Time: Jan 22 10:01:57 2021",{"$nulls":6},"  Quant Time: Jan 22 10:02:25 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":6},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":6},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":6},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":6},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":6},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue","Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.509,129,63288,"No","Calib","#",null,"1) Dodecanoic acid TI",14.509,129,25803,"No","Calib","#","1) Dodecanoic acid TI",14.497,129,35108,"No","Calib","#"]
["2] (Z)-11-hexadecenal",0,null,0,null,"N.D.",null,null,"2] (Z)-11-hexadecenal",0,null,0,null,"N.D.",null,"2] (Z)-11-hexadecenal",0,null,0,null,"N.D."]
["3] (Z)-11-hexadecen-1-ol",0,null,0,null,"N.D.",null,null,"3] (Z)-11-hexadecen-1-ol",0,null,0,null,"N.D.",null,"3] (Z)-11-hexadecen-1-ol",0,null,0,null,"N.D."]
["4] (Z)-11-hexadecenyl ace...",0,null,0,null,"N.D.",null,null,"4] (Z)-11-hexadecenyl ace...",0,null,0,null,"N.D.",null,"4] (Z)-11-hexadecenyl ace...",0,null,0,null,"N.D."]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":6},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 10:01:40 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 10:02:13 2021   ",{"$nulls":6},"IGEM 2018 short Q.M Fri Jan 22 10:02:36 2021   "]

{"sheet":"k,EaD","index":2,"n_rows":64,"n_cols":22,"rows_kept":64,"cut":false,"hidden":false,"merged":[]}
[" Quantitation Report    (QT Reviewed)",{"$nulls":7},"  Quantitation Report    (QT Reviewed)",{"$nulls":6},"      Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":6},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : KEaD,dCas-1.D                                       ",{"$nulls":7},"  Data File : KEaD,dCas-2.D                                       ",{"$nulls":6},"  Data File : KEaD,dCas-3.D                                       "]
["  Acq On    : 19 Jan 2021  09:53",{"$nulls":7},"  Acq On    : 19 Jan 2021  15:27",{"$nulls":6},"  Acq On    : 19 Jan 2021  17:59"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":6},"  Operator  : Elena"]
["  Sample    : KEaD,dCas-1",{"$nulls":7},"  Sample    : KEaD,dCas-2",{"$nulls":6},"  Sample    : KEaD,dCas-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":6},"  Misc      :  "]
["  ALS Vial  : 1   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 12   Sample Multiplier: 1",{"$nulls":6},"  ALS Vial  : 17   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 09:55:49 2021",{"$nulls":7},"  Quant Time: Jan 22 09:56:31 2021",{"$nulls":6},"  Quant Time: Jan 22 09:57:22 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":6},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":6},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":6},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":6},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":6},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue","Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.503,129,172920,"No","Calib","#",null,"1) Dodecanoic acid TI",14.509,129,159650,"No","Calib","#","1) Dodecanoic acid TI",14.284000000000001,129,47240,"No","Calib"]
["2] (Z)-11-hexadecenal",18.635999999999999,82,43405,"No","Calib",null,null,"2] (Z)-11-hexadecenal",18.637,82,58390,"No","Calib",null,"2] (Z)-11-hexadecenal",18.635999999999999,82,18271,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.588000000000001,95,4279471,"No","Calib",null,null,"3] (Z)-11-hexadecen-1-ol",19.582999999999998,95,5966324,"No","Calib",null,"3] (Z)-11-hexadecen-1-ol",19.79,95,1091794,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.526,95,151173,"No","Calib",null,null,"4] (Z)-11-hexadecenyl ace...",21.527000000000001,95,226838,"No","Calib",null,"4] (Z)-11-hexadecenyl ace...",21.526,95,109371,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":6},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 09:56:15 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 09:57:02 2021   ",{"$nulls":6},"IGEM 2018 short Q.M Fri Jan 22 09:57:39 2021   "]
[]
[]
[]
[]
["   Quantitation Report    (QT Reviewed)",{"$nulls":7}," Quantitation Report    (QT Reviewed)",{"$nulls":6}," Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":6},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : KEaD,P19-1.D                                        ",{"$nulls":7},"  Data File : KEaD,P19-2.D                                        ",{"$nulls":6},"  Data File : KEaD,P19-3.D                                        "]
["  Acq On    : 19 Jan 2021  11:55",{"$nulls":7},"  Acq On    : 19 Jan 2021  16:28",{"$nulls":6},"  Acq On    : 19 Jan 2021  20:01"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":6},"  Operator  : Elena"]
["  Sample    : KEaD,P19-1",{"$nulls":7},"  Sample    : KEaD,P19-2",{"$nulls":6},"  Sample    : KEaD,P19-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":6},"  Misc      :  "]
["  ALS Vial  : 5   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 14   Sample Multiplier: 1",{"$nulls":6},"  ALS Vial  : 21   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 09:57:51 2021",{"$nulls":7},"  Quant Time: Jan 22 09:58:19 2021",{"$nulls":6},"  Quant Time: Jan 22 09:58:54 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":6},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":6},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":6},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":6},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":6},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue","Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.509,129,74925,"No","Calib","#",null,"1) Dodecanoic acid TI",14.503,129,34254,"No","Calib","#","1) Dodecanoic acid TI",14.497,129,27811,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.631,82,3890,"No","Calib",null,null,"2] (Z)-11-hexadecenal",18.635999999999999,82,3628,"No","Calib",null,"2] (Z)-11-hexadecenal",18.635999999999999,82,4146,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.831,95,141711,"No","Calib","#",null,"3] (Z)-11-hexadecen-1-ol",19.853000000000002,95,39652,"No","Calib","#","3] (Z)-11-hexadecen-1-ol",19.893999999999998,95,55380,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.526,95,10717,"No","Calib",null,null,"4] (Z)-11-hexadecenyl ace...",21.526,95,3420,"No","Calib",null,"4] (Z)-11-hexadecenyl ace...",21.526,95,6511,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":6},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 09:58:05 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 09:58:42 2021   ",{"$nulls":6},"IGEM 2018 short Q.M Fri Jan 22 09:59:16 2021   "]

{"sheet":"K, ATF1","index":3,"n_rows":64,"n_cols":22,"rows_kept":64,"cut":false,"hidden":false,"merged":[]}
["  Quantitation Report    (QT Reviewed)",{"$nulls":7}," Quantitation Report    (QT Reviewed)",{"$nulls":6}," Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":6},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : KATF,dCas-1.D                                       ",{"$nulls":7},"  Data File : KATF,dCas-2.D                                       ",{"$nulls":6},"  Data File : KATF,dCas-3.D                                       "]
["  Acq On    : 19 Jan 2021  10:24",{"$nulls":7},"  Acq On    : 19 Jan 2021  13:56",{"$nulls":6},"  Acq On    : 19 Jan 2021  18:30"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":6},"  Operator  : Elena"]
["  Sample    : KATF,dCas-1",{"$nulls":7},"  Sample    : KATF,dCas-2",{"$nulls":6},"  Sample    : KATF,dCas-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":6},"  Misc      :  "]
["  ALS Vial  : 2   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 9   Sample Multiplier: 1",{"$nulls":6},"  ALS Vial  : 18   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 09:49:45 2021",{"$nulls":7},"  Quant Time: Jan 22 09:50:56 2021",{"$nulls":6},"  Quant Time: Jan 22 09:52:07 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":6},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":6},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":6},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":6},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":6},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue","Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.497999999999999,129,53404,"No","Calib","#",null,"1) Dodecanoic acid TI",14.509,129,46914,"No","Calib","#","1) Dodecanoic acid TI",14.497999999999999,129,39065,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.635999999999999,82,108711,"No","Calib",null,null,"2] (Z)-11-hexadecenal",18.635999999999999,82,144030,"No","Calib",null,"2] (Z)-11-hexadecenal",18.631,82,124260,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.582000000000001,95,12969066,"No","Calib",null,null,"3] (Z)-11-hexadecen-1-ol",19.588000000000001,95,15798420,"No","Calib",null,"3] (Z)-11-hexadecen-1-ol",19.588000000000001,95,15240931,"No","Calib","#"]
["4] (Z)-11-hexadecenyl ace...",21.526,95,2616568,"No","Calib",null,null,"4] (Z)-11-hexadecenyl ace...",21.526,95,3751988,"No","Calib",null,"4] (Z)-11-hexadecenyl ace...",21.532,95,4573221,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":6},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 09:50:44 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 09:51:55 2021   ",{"$nulls":6},"IGEM 2018 short Q.M Fri Jan 22 09:52:23 2021   "]
[]
[]
[]
[]
[" Quantitation Report    (QT Reviewed)",{"$nulls":7},"   Quantitation Report    (QT Reviewed)",{"$nulls":6},"Quantitation Report    (QT Reviewed)"]
[]
["  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":7},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\",{"$nulls":6},"  Data Path : D:\\MassHunter\\GCMS\\1\\data\\D Orzaez 2020\\Elena Ene 2021\\"]
["  Data File : KATF,P19-1.D                                        ",{"$nulls":7},"  Data File : KATF,P19-2.D                                        ",{"$nulls":6},"  Data File : KATF,P19-3.D                                        "]
["  Acq On    : 19 Jan 2021  12:25",{"$nulls":7},"  Acq On    : 19 Jan 2021  16:58",{"$nulls":6},"  Acq On    : 19 Jan 2021  20:31"]
["  Operator  : Elena",{"$nulls":7},"  Operator  : Elena",{"$nulls":6},"  Operator  : Elena"]
["  Sample    : KATF,P19-1",{"$nulls":7},"  Sample    : KATF,P19-2",{"$nulls":6},"  Sample    : KATF,P19-3"]
["  Misc      :  ",{"$nulls":7},"  Misc      :  ",{"$nulls":6},"  Misc      :  "]
["  ALS Vial  : 6   Sample Multiplier: 1",{"$nulls":7},"  ALS Vial  : 15   Sample Multiplier: 1",{"$nulls":6},"  ALS Vial  : 22   Sample Multiplier: 1"]
[]
["  Quant Time: Jan 22 09:53:18 2021",{"$nulls":7},"  Quant Time: Jan 22 09:54:10 2021",{"$nulls":6},"  Quant Time: Jan 22 09:55:13 2021"]
["  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":7},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M",{"$nulls":6},"  Quant Method : D:\\MassHunter\\Methods\\Quant\\IGEM 2018 short Q.M"]
["  Quant Title  : Sexy plant 2018",{"$nulls":7},"  Quant Title  : Sexy plant 2018",{"$nulls":6},"  Quant Title  : Sexy plant 2018"]
["  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":7},"  QLast Update : Sat Sep 12 09:33:25 2020",{"$nulls":6},"  QLast Update : Sat Sep 12 09:33:25 2020"]
["  Response via : Initial Calibration",{"$nulls":7},"  Response via : Initial Calibration",{"$nulls":6},"  Response via : Initial Calibration"]
[]
["          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":7},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)",{"$nulls":6},"          Compound                   R.T. QIon  Response  Conc Units Dev(Min)"]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["Target Compounds",{"$nulls":5},"Qvalue",null,"Target Compounds",{"$nulls":5},"Qvalue","Target Compounds",{"$nulls":5},"Qvalue"]
["1) Dodecanoic acid TI",14.497,129,68492,"No","Calib","#",null,"1) Dodecanoic acid TI",14.509,129,32903,"No","Calib","#","1) Dodecanoic acid TI",14.497999999999999,129,31089,"No","Calib","#"]
["2] (Z)-11-hexadecenal",18.635999999999999,82,3360,"No","Calib",null,null,"2] (Z)-11-hexadecenal",18.648,82,5627,"No","Calib",null,"2] (Z)-11-hexadecenal",18.637,82,2153,"No","Calib"]
["3] (Z)-11-hexadecen-1-ol",19.882000000000001,95,39827,"No","Calib","#",null,"3] (Z)-11-hexadecen-1-ol",19.829999999999998,95,40024,"No","Calib",null,"3] (Z)-11-hexadecen-1-ol",19.952000000000002,95,20355,"No","Calib"]
["4] (Z)-11-hexadecenyl ace...",21.526,95,2932,"No","Calib",null,null,"4] (Z)-11-hexadecenyl ace...",21.532,95,4148,"No","Calib",null,"4] (Z)-11-hexadecenyl ace...",21.527000000000001,95,1827,"No","Calib"]
["5] Unkown 22.49",0,null,0,null,"N.D.",null,null,"5] Unkown 22.49",0,null,0,null,"N.D.",null,"5] Unkown 22.49",0,null,0,null,"N.D."]
["   --------------------------------------------------------------------------",{"$nulls":7},"   --------------------------------------------------------------------------",{"$nulls":6},"   --------------------------------------------------------------------------"]
[]
["   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":7},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed",{"$nulls":6},"   (#) = qualifier out of range (m) = manual integration (+) = signals summed"]
[]
["IGEM 2018 short Q.M Fri Jan 22 09:53:56 2021   ",{"$nulls":7},"IGEM 2018 short Q.M Fri Jan 22 09:55:01 2021   ",{"$nulls":6},"IGEM 2018 short Q.M Fri Jan 22 09:55:31 2021   "]