{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["GPP calibration line"],"not_rendered":{"charts":2,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"GPP calibration line","index":0,"n_rows":12,"n_cols":18,"rows_kept":12,"cut":false,"hidden":false,"merged":[[1,1,1,8],[2,3,2,4],[7,3,7,4],[8,3,8,4],[11,1,11,8]]}
[]
[null,"Peak Areas GPP [ng]",{"$nulls":9},{"$f":"B9","v":2.7374760470845878},{"$f":"C9","v":13.687380235422939},27.374760470845878,{"$f":"F9","v":68.436901177114692},{"$f":"G9","v":136.87380235422938},205.31070353134407,273.74760470845877]
[null,1,5,10,null,25,50,75,100,null,null,1,5,10,25,50,75,100]
[1,1035.3,3956.5,7847.6,8627,20822.3,40095.1,57760.7,76039.7,null,null,{"$f":"B8","v":930.80000000000007},{"$f":"C8","v":3918.1533333333332},8185.666666666667,{"$f":"F8","v":20688.066666666666},{"$f":"G8","v":39064.033333333333},57087.799999999996,74954.433333333334]
[2,862.2,3942.9,7759.2,8561.9,20834.900000000001,38447.800000000003,56966.2,74922.600000000006]
[3,894.9,3855.06,7750.3,8568,20407,38649.199999999997,56536.5,73901]
[]
["Mittelwert Peak Area",{"$f":"AVERAGE(B4:B6)","v":930.80000000000007},{"$f":"AVERAGE(C4:C6)","v":3918.1533333333332},{"$f":"AVERAGE(D4:E6)","v":8185.666666666667},null,{"$f":"AVERAGE(F4:F6)","v":20688.066666666666},39064.033333333333,57087.799999999996,74954.433333333334]
["GPP [nmol]",{"$f":"((B3*0.000001)/365.3)*1000000000","v":2.7374760470845878},{"$f":"((C3*0.000001)/365.3)*1000000000","v":13.687380235422939},{"$f":"((D3*0.000001)/365.3)*1000000000","v":27.374760470845878},null,{"$f":"((F3*0.000001)/365.3)*1000000000","v":68.436901177114692},{"$f":"((G3*0.000001)/365.3)*1000000000","v":136.87380235422938},205.31070353134407,273.74760470845877]
[]
[]
[null,"y=0,0013x-1,0459 [ng] / y=0,0037x-2,863 [pmol]"]