ALD SOP

Specific activity of the glycolytic enzymes were measured in NAD(P)H/NAD(P)+ linked enzyme assays that were adapted from Teusink et al. [1] and measured at 340 nm in 96-well plates (Flat Bottom microplate, Greiner Bio-One, Kremsmünster, Austria) on a spectrophotometer (VarioSkan microplate reader, Thermo Electron Corporation, Waltham, Massachusetts, USA). The same buffer, (20 mM HEPES, 20 mM MgCl, 10 mM KCl and 20 mM NaCl), was used for all assays, with a pH set to 7.17, matching the cytosolic pH of P. falciparum D10 [2]. All of the linking enzymes were used at a non-limiting, final concentration of 5 U/mL. All reagents and enzymes were obtained from Sigma-Aldrich, St. Louis, Missouri, USA.

Aldolase (ALD) activity was characterised in terms of F16BP saturation (0 - 0.8 mM) by link- ing the production of DHAP to the oxidation of NADH (0.8 mM) via αGlyPDH in the presence of excess TPI.

[1]  Teusink B, Passarge J, Reijenga C, Esgalhado E, van der Weijden C, et al. (2000) Can yeast glycolysis be understood in terms of in vitro kinetics of the constituent enzymes? testing biochemistry. Eur J Biochem 267: 5313-5329.

[2]  Wünsch S, Sanchez C, Gekle M, Grosse-Wortmann L, Wiesner J, et al. (1998) Differential stimulation of the Na+/H+ exchanger determines chloroquine uptake in Plasmodium falciparum. J Cell Biol 140: 335-345.