Object:  		STANDARD OPERATING PROCEDURE

Document title:  	16 S Metagenomic Sequencing Library Preparation

Version: 		0.1

Department:		IKBM

Author:		Inga Leena Angell/Technician

Date: 			10.05.16

Reviewed by:		Knut Rudi

1 	Purpose

The purpose of the present Standard Operating Procedure (SOP) is to describe the standard workflow of the preparation of a 16S rRNA gene amplicon library for sequencing on a MiSeq platform (Illumina) using V3 sequencing chemistry with 300 base pairs paired-end reads.

2 	Procedure

2.1	Consumables

Table 2.1 Overview of consumables.

| Item | Supplier | Reference |
| --- | --- | --- |
| Microbial Genomic DNA (1-100 ng/µl) |  |  |
| 5x HOT FIREPol® Blend Master Mix Ready to Load | Solis BioDyne |  |
| 5x FIREPol® Master Mix Ready to Load | Solis BioDyne |  |
| 2x EvaGreen Supermix | Bio-Rad |  |
| PCR grade water | General Supplier |  |
| 96-well 0.2 ml PCR plates | General Supplier |  |
| PRK341 Forward primer | Thermo Fisher | (Yu, Lee et al. 2005) |
| PRK806 Reverse primer | Thermo Fisher | (Yu, Lee et al. 2005) |
| Illumina primers | Thermo Fisher | See appendix 1 |
| Illumina Colony primers | Thermo Fisher |  |
| Freshly prepared 80% ethanol |  |  |
| Eva green droplet generator oil | Bio-Rad |  |
| AMpure XP beads | Beckman Coulter |  |
| Nunc 96 well Nontreated Black Microwell plate | Thermo Fisher |  |
| Tips for biomek | Nerliens Meszansky |  |
| Standard tips and tubes | General Supplier |  |

2.2	Equipment

| Equipment | Supplier |
| --- | --- |
| Biomek 3000 | Beckman Coulter |
| ddPCR droplet generator QX200 | Bio-Rad |
| ddPCR droplet reader QX200 | Bio-Rad |
| EpMotion 5070 | Eppendorf |
| Qubit fluorometer | Thermo Fisher |
| Cambrex – FLX 800 CSE |  |
| PCR instrument | General supplier |
| Standard equipment (vortex, micropipettes etc.) | General supplier |

2.3 	First stage PCR (Amplicon PCR)

Make a reaction cocktail of all components except template DNA by using the table below. Vortex gently to mix well.

| Reagent | Initial conc. | Final conc. | Volume for 1 rxn (µl) |
| --- | --- | --- | --- |
| 5x HOT FIREPol® Blend Master Mix Ready to Load | 5x | 1x | 5 |
| Forward primer | 10 µM | 0.2 µM | 0.5 |
| Reverse primer | 10 µM | 0.2 µM | 0.5 |
| Nuclease-free water | NA | NA | 17 |
| Template DNA |  | 1 – 100 ng | 2 |
| Final volume |  |  | 25 |

Dispense 23 µl of the reaction cocktail in each well/tube, and add template DNA to complete the PCR reaction mix. Briefly centrifuge the tube/plate to collect contents to the bottom of each well.

Amplify PCR product using the following program:

x 30

| 95 °C | 15:00 |
| --- | --- |
| 95 °C | 00:30 |
| 50 °C | 00:30 |
| 72 °C | 00:45 |
| 72 °C | 7:00 |
| 4 °C | ∞ |

Check the PCR product (≈ 466 bp) on 1 % Agarose gel.

2.4 	PCR Clean up

Clean up PCR product using AMPure XP beads. Transfer 10µl of PCR product to a new plate for this step. Use the Biomek3000 robot with 1,0X volume of beads to volume of DNA sample (10µl PCR product and 10µl Ampure bead solution). See “Protocol for ampure purification on Biomek 3000” (Appendix 3).

2.5 	Second stage PCR (Index PCR)

Make a set-up of which primer-combinations to be used in each sample. There are 16 forward and 36 reverse primers, making a total of 16*36 = 576 possible combinations (Primers in Appendix 1). Each combination should be present only once.

Make a reaction cocktail of all components except template DNA and primers by using the table below. Vortex gently to mix well.

| Reagent | Initial conc. | Final conc. | Volume for 1 rxn (µl) |
| --- | --- | --- | --- |
| 5x FIREPol® Master Mix Ready to Load | 5x | 1x | 5 |
| Forward primer | 1 µM | 0.2 µM | 5 |
| Reverse primer | 1 µM | 0.2 µM | 5 |
| Nuclease-free water | NA | NA | 9 |
| Template DNA |  | 7.5 – 150 ng | 2 |
| Final volume |  |  | 24 |

Dispense 14 µl of the reaction cocktail into each tube/well and add primers and template DNA. For dispense of the primers by using the Eppendorf epMotion 5070 robot, see “Index PCR setup using the Eppendorf epMotion 5070” protocol.

Amplify fragments by using the following program:

X12

| 95 °C | 5:00 |
| --- | --- |
| 95 °C | 00:30 |
| 55 °C | 01:00 |
| 72 °C | 00:45 |
| 72 °C | 7:00 |
| 4 °C | ∞ |

Check the PCR product (≈ 594 bp) on 1 % agarose gel.

2.6	 Quantification and normalization

Quantify DNA concentrations of index PCR products by Qubit measurements using     Cambrex- FLX 800 CSE including a standard curve. See “Measuring DNA concentration with Cambrex – FLX 800 CSE” protocol.

Measuring DNA concentration with Cambrex – FLX 800 CSE

1. Start by making standards for standard-curve:

Dilute λ DNA Standard 100 µg/ml in TE buffer to 50 ng/µl, 10 ng/µl, 1 ng/µl.

2. Make Qbit Working Solution by diluting 1:200 Qubit dsDNA HS Reagent in Qubit dsDNA HS Buffer. * Include five Standard Assay wells in calculation.

3. Add 70 µl of Working Solution to each well.

4. Add 2 µl of sample DNA to each sample well in the PCR strip (total volume of 72 µl)

5. Add 2 µl of appropriate standard to standard wells:

TE buffer		  0 ng/µl

λ DNA Standard 	1 ng/µl

λ DNA Standard 	10 ng/µl

λ DNA Standard 	50 ng/µl

6. Transfer to a Nunc 96 well Nontreated Black Microwell plate.

Turn on Cambrex – FLX 800 CSE machine and place the Nunc plate in the machine (*don’t forget to take of lid).

Open KC4 program.

Press Protocol 	 Open               qbitKRU

Press New

Press Read                    You might have to repeat steps a few times until machine can perform      Press Start Reading        readings

Mark values and copy them into a Notepad/Excel sheet. Save to memory stick.

Make a standard curve (fluorescence values vs. concentration). Trend analysis of the standard curve linear regression can be used to calculate ng/µl concentration of each sample.

Pool the samples according to the concentrations.  Use a cut off value in the higher part of your concentration rage which corresponds to =1µl of sample. Calculate from this concentration how many µl you need from each of the other samples to equal your cut off concentration. (cut-off concentration / concentration in sample). Do not take more than 10µl or less than 1µl from a sample even though the calculations say so. This is a rough way of normalizing, but works ok.

Make an excel sheet with your sample volumes and upload to the Biomek robot. NB! Use old version of excel (97) and save as a .csv file. Use template format “Normaliseringsmal”.

Normalize and pool index PCR products using the Biomek robot with the following protocol: “Protocol for normalization on Biomek of quantified 16s Sample” (Appendix 4).

2.7 	Clean up of pooled Library

Perform clean-up of the pooled library by following the Ampure protocol given below.

Ampure protocol:

Preparation

Bring the AMPure XP beads to room temperature.

NOTE

Always prepare fresh 80% ethanol for wash steps.

Ethanol can absorb water from the air affecting your results.

Transfer 150 μl (or less) of the PCR product from the pooled sample to a new Eppendorf tube.

Vortex the AMPure XP beads for 30 seconds to ensure that the beads are evenly dispersed.

Add 0,8X μl of AMPure XP beads to the eppendorf tube and gently pipette mix up and down 10 times. Not on magnet.

Incubate at room temperature for 5 minutes.

Place the tube on a magnetic stand for 2 minutes or until the supernatant has cleared.

With the tube on the magnetic stand, carefully remove and discard the supernatant.

NOTE

If any beads are inadvertently aspirated into the tips, dispense the beads back to the plate and let the plate rest on the magnet for 2 minutes and confirm that the supernatant has cleared.

With the tube on the magnetic stand, wash the beads with freshly prepared 80% ethanol as follows:

Add 200 μl of freshly prepared 80% ethanol to each sample well. You should not resuspend the beads at this time.

Incubate the tube on the magnetic stand for 30 seconds.

Carefully remove and discard the supernatant.

With the tube on the magnetic stand, perform a second ethanol wash as follows:

Add 200 μl of freshly prepared 80% ethanol to each sample well.

Incubate the plate on the magnetic stand for 30 seconds.

Carefully remove and discard the supernatant.

Remove excess ethanol.

With the tube still on the magnetic stand, allow the beads to air-dry for 15 minutes.

Remove the tube from the magnetic stand. Add 40 μl of Tris/ PCR water and gently pipette mix up and down 10 times.

Incubate at room temperature for 2 minutes.

Place the tube on the magnetic stand for 2 minutes or until the supernatant has cleared.

Label a new Eppendorf tube – cleaned pooled amplicon library 16S Illumina.

Carefully transfer 35 μl of the supernatant to the new tube.

Check cleaned product and supernatant on 1% agarose gel. Band size should be around 550-600 bp.

Freeze a part of the sample for sequencing and use another part for quantification (5 µl needed for quantification by ddPCR/qPCR) (see step 2.9). This ensures that the sample for sequencing only is thawed once before sequencing.

2.8 	Quantification of amplicons in library

Quantify amplicons in the pooled library by one of the two options:

- ddPCR using Illumina colony amplification primers

Dilute the pooled library sample accordingly:

| Sample | PCR Water | Dilution |
| --- | --- | --- |
| 5 µl | 495 µl | 10-2 |
| 5 µl | 45 µl | 10-3 |
| 5 µl | 45 µl | 10-4 |
| 5 µl | 45 µl | 10-5 |
| 5 µl | 45 µl | 10-6 |
| 5 µl | 45 µl | 10-7 |
| 5 µl | 45 µl | 10-8 |
| 5 µl | 45 µl | 10-9 |

Make following mastermix for eight samples:

| Reagent | Initial conc. | Final conc. | Vol/rxn (µl) |
| --- | --- | --- | --- |
| 2 x EvaGreen supermix | 2x | 1x | 10 |
| Illumina colony Forward primer | 10µM | 0.2 µM | 0.4 |
| Illumina colony Reverse primer | 10 µM | 0.2 µM | 0.4 |
| DNA template |  |  | 2 |
| PCR water |  |  | 7,2 |
| Total |  |  | 20 |

Include dilutions 10^-3 – 10^-9 and a negative control on the cartridge (8 samples in total).

Transfer 20µl to the ddPCR droplet maker. Follow instructions from Bio-Rad.

40 ×

Run PCR with the following parameters:

| Degrees °C | Time |
| --- | --- |
| 95 °C | 5 min |
| 95 °C | 30 sec |
| 60 °C | 30 sec |
| 72 °C | 45 sec |
| 4 °C | 5 min |
| 90 °C | 5 min |
| 4 °C | ∞ |

- qPCR with PerfeCta NGS Quantification Kit for Ilumina sequencing platforms (Quanta BioSciences). Follow the recommendations given in the Kit.

Calculate concentration of the pooled sample and dilute to a 4 nM concentration. This should be done the same day as the loading of MiSeq.

2.9 	Loading of MiSeq

As described in page 17-19 in the “16 S Metagenomic Sequencing Library Preparation” protocol” (Attachment 2) From:(http://support.illumina.com/content/dam/illumina-support/documents/documentation/chemistry_documentation/16s/16s-metagenomic-library-prep-guide-15044223-b.pdf)

NB: Remember to spike sample with 15 % PhiX control, not 5% as written in the Illumina protocol.

3	Appendices

Attachment 1: List of primers used in the protocol

Attachment 2: Library Denaturing and MiSeq Sample loading

Attachment 3: Appendix 3: Ampure purification on Biomek 3000

Attachment 4: Normalization of samples with Biomek3000

4	References

16S metagenomics Sequencing Library Preparation (Illumina):

http://support.illumina.com/content/dam/illumina-support/documents/documentation/chemistry_documentation/16s/16s-metagenomic-library-prep-guide-15044223-b.pdf

KingFisher Flex robot:

https://tools.thermofisher.com/content/sfs/manuals/D01475~.pdf

Qubit fluorometer:

https://www.thermofisher.com/content/dam/LifeTech/migration/en/filelibrary/cell-tissue-analysis/qubit-all-file-types.par.27078.file.dat/qubit-usermanual.pdf

Qubit assay protocol:

https://www.thermofisher.com/content/dam/LifeTech/migration/en/filelibrary/cell-tissue-analysis/qubit-all-file-types.par.90790.file.dat/qubit1.0-protocol.pdf

PRK primers:

Yu, Y., et al. (2005). "Group‐specific primer and probe sets to detect methanogenic communities using quantitative real‐time polymerase chain reaction." Biotechnology and bioengineering 89(6): 670-679.

Appendix 1 : List of primers used in the protocol

PRK primers targeting prokaryotic 16S rRNA gene:

Forward (PRK341F) (5’ – 3’): CCTACGGGRBGCASCAG

Reverse (PRK806) (5’ – 3’): GGACTACYVGGGTATCTAAT

PRKillumina primers: Forward (PRKi F) (5’ – 3’):

1. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctagtcaaCCTACGGGRBGCASCAG

2. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctagttccCCTACGGGRBGCASCAG

3. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctatgtcaCCTACGGGRBGCASCAG

4. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctccgtccCCTACGGGRBGCASCAG

5. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctgtagagCCTACGGGRBGCASCAG

6. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctgtccgcCCTACGGGRBGCASCAG

7. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctgtgaaaCCTACGGGRBGCASCAG

8. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctgtggccCCTACGGGRBGCASCAG

9. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctgtttcgCCTACGGGRBGCASCAG

10. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctcgtacgCCTACGGGRBGCASCAG

11. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctgagtggCCTACGGGRBGCASCAG

12. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctggtagcCCTACGGGRBGCASCAG

13. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctactgatCCTACGGGRBGCASCAG

14. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctatgagcCCTACGGGRBGCASCAG

15. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctattcctCCTACGGGRBGCASCAG

16. aatgatacggcgaccaccgagatctacactctttccctacacgacgctcttccgatctcaaaagCCTACGGGRBGCASCAG

Reverse (PRKi R) (5’ – 3’):

1. caagcagaagacggcatacgagatCGTGATgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

2. caagcagaagacggcatacgagatACATCGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

3. caagcagaagacggcatacgagatGCCTAAgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

4. caagcagaagacggcatacgagatTGGTCAgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

5. caagcagaagacggcatacgagatCACTCTgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

6. caagcagaagacggcatacgagatATTGGCgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

7. caagcagaagacggcatacgagatGATCTGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

8. caagcagaagacggcatacgagatTCAAGTgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

9. caagcagaagacggcatacgagatCTGATCgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

10. caagcagaagacggcatacgagatAAGCTAgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

11. caagcagaagacggcatacgagatGTAGCCgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

12. caagcagaagacggcatacgagatTACAAGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

13. caagcagaagacggcatacgagatTTGACTgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

14. caagcagaagacggcatacgagatGGAACTgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

15. caagcagaagacggcatacgagatTGACATgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

16. caagcagaagacggcatacgagatGGACGGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

17. caagcagaagacggcatacgagatCTCTACgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

18. caagcagaagacggcatacgagatGCGGACgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

19. caagcagaagacggcatacgagatTTTCACgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

20. caagcagaagacggcatacgagatGGCCACgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

21. caagcagaagacggcatacgagatCGAAACgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

22. caagcagaagacggcatacgagatCGTACGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

23. caagcagaagacggcatacgagatCCACTCgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

24. caagcagaagacggcatacgagatGCTACCgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

25. caagcagaagacggcatacgagatATCAGTgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

26. caagcagaagacggcatacgagatGCTCATgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

27. caagcagaagacggcatacgagatAGGAATgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

28. caagcagaagacggcatacgagatCTTTTGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

29. caagcagaagacggcatacgagatTAGTTGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

30. caagcagaagacggcatacgagatCCGGTGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

31. caagcagaagacggcatacgagatATCGTGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

32. caagcagaagacggcatacgagatTGAGTGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

33. caagcagaagacggcatacgagatCGCCTGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

34. caagcagaagacggcatacgagatGCCATGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

35. caagcagaagacggcatacgagatAAAATGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

36. caagcagaagacggcatacgagatTGTTGGgtgactggagttcagacgtgtgctcttccgatctGGACTACYVGGGTATCTAAT

Colony primers (5’ – 3’) targeting All tagged DNA fragments after indexing PCR:

IlluminaColonyF: AATGATACGGCGACCACCGAGATCT

IlluminaColonyR:  CCAGCAGAAGACGGCATACGAGAT

Appendix 2: Library Denaturing and MiSeq Sample loading

From  http://support.illumina.com/content/dam/illumina-support/documents/documentation/chemistry_documentation/16s/16s-metagenomic-library-prep-guide-15044223-b.pdf

Appendix 3: Ampure purification on Biomek 3000

Appendix 4: Normalization of samples with Biomek3000